Department of Buildings and General Services

Burner Start-up Form

Job Name

Address

City 	 State	Zip

Distributor

Location/Branch 	Tel

Heating Contractor 	Tel

Address

City 	 State	Zip

Service Contractor	 Tel

Address

City 	 State	Zip

Device burner is on:	 Boiler	 Furnace	 Other:

Make

Model

Rated input	MBH	GPH   #	Oil @	“WC overfire

# Burner:

Make

Model

UL #

Serial #

# Burner Operation:	Ignition System:

- On/Off	Operation	  Checked      N/A

- Low-High-Low	Adjustments	  Checked      N/A

- Full Modulation

Electrical:

Nameplate:

Burner: Volts/Hz/Phase 	_____/_____/_____	Blower: Volts/Hz/Phase  _____/_____/_____

Amps	_____/_____/_____	Amps	_____/_____/_____

Actual:

Burner: Volts/Hz/Phase 	_____/_____/_____	Blower: Volts/Hz/Phase  _____/_____/_____

Amps	_____/_____/_____	Amps	_____/_____/_____

# Burner Input:	Combustion Detector:

Oil Low Fire 	GPH	Make

Oil High Fire 	GPH	Type

Gas Low Fire	MBH	Number

Gas High Fire	MBH	Pilot Flame 	Micro Amps

Volts

1/27/2000

Primary Control:

Make  		Lead/Lag:

Model 		  Auto         Manual          None

Primary Control Readings:

High Fire	Micro Amps	Energy Management Control System:

Volts	  Yes         No

Low Fire	Micro Amps	Make

Volts	Model

## Safety Switch Timing	Sec.

## Combustion Readings: Mid Point Readings are for Full Modulation Burners Only

  Oil         Gas      Other

Low Fire	%CO2	%O2	ppm CO

Med Fire	%CO2	%O2	ppm CO

High Fire	%CO2	%O2	ppm CO

### Smoke:	Stack Temperature:	Combustion Efficiency:

Low Fire #		Low Fire	F	Low Fire	%

Med Fire #		Med Fire	F	Med Fire	%

High Fire #		High Fire	F	High Fire	%

# Venting:

  Forced Draft      Balanced Draft      Natural Draft	  Induced Draft

Position of Damper Weight

Amount of Damper Weight

Damper Position

VFD frequency

Other

# Draft/Pressure Over Fire:	Test Opening Flue Collar:

Low Fire	“WC	High Fire	“ WC

High Fire	“ WC

# Oil Pressure: (Burner Pump)	Oil Supply:

Low Fire	psi	Lift

High Fire	psi	Run

Size

# Vacuum: (Oil)	Pressure to Burner:

Low Fire	in	Low Fire	psi

High Fire	in 	High Fire	psi

Oil Temp	F

# Gas Specifications:

BTU Content	Oil Specifications:

Nat	BTUs	Grade	(2, 4, 6, etc)

LP	BTUs	Heat Value	Btu/gal

Other	BTUs

# Gas Pressure:

Inlet Gas Control Pressure	Burner Manifold Pressure

Lock-up	“WC	Lock-up	“WC

High Fire	“ WC	High Fire	“ WC

1/27/2000

Other Checks: 	1/27/2000

Operating Control cut out setting	F / psi

Operating Control cut in setting	F / psi

Limit Control cut out setting	F / psi

Limit Control cut in setting	F / psi

Temperature rise through Boiler/Furnace	F

Firing Rate Control Check	  Checked 	Setting	   N/A

Low Gas Pressure Switch	  Checked 	Setting	   N/A

High Gas Pressure Switch	  Checked 	Setting	   N/A

Low Oil Pressure Switch	  Checked 	Setting	   N/A

Low Air Atomizing Pressure Switch	  Checked 	Setting	   N/A

Low Oil Temp Switch	  Checked 	Setting	   N/A

Check for proper operation:

Low Water Cut-off	  Checked       N/A

Manual Reset Low Water Cut-off	  Checked       N/A

Burner Air Flow Switch	  Checked       N/A

Fresh Air Damper End Switch	  Checked       N/A

Barometric Damper	  Checked       N/A

Boiler Room Comb Air/Vent	  Checked       N/A

Combustion Air/Vent Fan	  Checked       N/A

Flame Failure Test	  Checked       N/A

Pilot Turn Down Test	  Checked       N/A

Oil Tank Vent System	  Checked       N/A

Fuel Line Leaks	  Checked       N/A

Gas Lines and Controls:

Properly Vented	  Checked       N/A

Other System Components:

(Specify)	  Checked       N/A

  Checked       N/A

  Checked       N/A

Notes:

System Deficiencies:

Person Notified:

Title:

Comments about Burner Installation:

Comments about Burner Operation:

Owners Representative, Signature	Date

Heating Contractor, Signature	Date

Start-up Rep., Signature	Date